FIELDPIX

# Heat pump install photos

fieldpix.org/guides/heat-pump-installation-photo-checklist

Job / address: ______________________________

Installer: ______________________________

Date: ______________________________

Program: ______________________________

## Before Installation — Required Photos

| Check | Shot | Notes | Photo # |
| --- | --- | --- | --- |
| Existing boiler/furnace — full unit, front view | ☐ Shot |  |  |
| Existing boiler/furnace — nameplate close-up | ☐ Shot |  |  |
| Existing boiler/furnace — fuel connection | ☐ Shot |  |  |
| Existing boiler/furnace — flue/exhaust connection | ☐ Shot |  |  |
| Fuel storage — oil tank location (if oil) | ☐ Shot |  |  |
| Existing thermostat(s) | ☐ Shot |  |  |
| Electrical panel — full view, door open | ☐ Shot |  |  |
| Electrical panel — close-up of available breaker spaces | ☐ Shot |  |  |
| Proposed location for each outdoor unit | ☐ Shot |  |  |
| Proposed location for each indoor unit | ☐ Shot |  |  |
| Attic or crawl space (if relevant to duct access or insulation) | ☐ Shot |  |  |
| Overall exterior of home — front and side | ☐ Shot |  |  |
| Overall interior of main living area | ☐ Shot |  |  |

## After Installation — Required Photos

| Check | Shot | Notes | Photo # |
| --- | --- | --- | --- |
| Each outdoor unit — front view, full unit visible | ☐ Shot |  |  |
| Each outdoor unit — nameplate close-up | ☐ Shot |  |  |
| Each outdoor unit — refrigerant line connections | ☐ Shot |  |  |
| Each outdoor unit — electrical disconnect box | ☐ Shot |  |  |
| Each indoor unit — full view, mounted on wall | ☐ Shot |  |  |
| Each indoor unit — nameplate close-up | ☐ Shot |  |  |
| Each indoor unit — refrigerant line set at wall penetration | ☐ Shot |  |  |
| Electrical panel — after new circuits added | ☐ Shot |  |  |
| New thermostat(s) or control panel — installed and operational | ☐ Shot |  |  |
| Line set routing — full run visible | ☐ Shot |  |  |
| Wall penetration seal (exterior) | ☐ Shot |  |  |
| DECOMMISSIONED SYSTEM — removed unit (outside or in staging area) | ☐ Shot |  |  |
| DECOMMISSIONED — capped or sealed fuel line | ☐ Shot |  |  |
| DECOMMISSIONED — removed oil tank (if applicable) | ☐ Shot |  |  |
| DECOMMISSIONED — sealed flue/chimney connection | ☐ Shot |  |  |
| System test in operation — remote/thermostat calling for heat | ☐ Shot |  |  |
| Overall exterior — post-install | ☐ Shot |  |  |
| Overall interior — post-install | ☐ Shot |  |  |
| Customer walkthrough — customer present near system | ☐ Shot |  |  |
| Home Layout | ☐ Shot |  |  |

Free template from fieldpix.org. FieldPix can write this for you from a walkthrough on site.