## Heat pump install photos
Job / address
Installer
Date
Program
Section | Check | Result | Notes | Photo #
Before Installation — Required Photos | Existing boiler/furnace — full unit, front view
Before Installation — Required Photos | Existing boiler/furnace — nameplate close-up
Before Installation — Required Photos | Existing boiler/furnace — fuel connection
Before Installation — Required Photos | Existing boiler/furnace — flue/exhaust connection
Before Installation — Required Photos | Fuel storage — oil tank location (if oil)
Before Installation — Required Photos | Existing thermostat(s)
Before Installation — Required Photos | Electrical panel — full view, door open
Before Installation — Required Photos | Electrical panel — close-up of available breaker spaces
Before Installation — Required Photos | Proposed location for each outdoor unit
Before Installation — Required Photos | Proposed location for each indoor unit
Before Installation — Required Photos | Attic or crawl space (if relevant to duct access or insulation)
Before Installation — Required Photos | Overall exterior of home — front and side
Before Installation — Required Photos | Overall interior of main living area
After Installation — Required Photos | Each outdoor unit — front view, full unit visible
After Installation — Required Photos | Each outdoor unit — nameplate close-up
After Installation — Required Photos | Each outdoor unit — refrigerant line connections
After Installation — Required Photos | Each outdoor unit — electrical disconnect box
After Installation — Required Photos | Each indoor unit — full view, mounted on wall
After Installation — Required Photos | Each indoor unit — nameplate close-up
After Installation — Required Photos | Each indoor unit — refrigerant line set at wall penetration
After Installation — Required Photos | Electrical panel — after new circuits added
After Installation — Required Photos | New thermostat(s) or control panel — installed and operational
After Installation — Required Photos | Line set routing — full run visible
After Installation — Required Photos | Wall penetration seal (exterior)
After Installation — Required Photos | DECOMMISSIONED SYSTEM — removed unit (outside or in staging area)
After Installation — Required Photos | DECOMMISSIONED — capped or sealed fuel line
After Installation — Required Photos | DECOMMISSIONED — removed oil tank (if applicable)
After Installation — Required Photos | DECOMMISSIONED — sealed flue/chimney connection
After Installation — Required Photos | System test in operation — remote/thermostat calling for heat
After Installation — Required Photos | Overall exterior — post-install
After Installation — Required Photos | Overall interior — post-install
After Installation — Required Photos | Customer walkthrough — customer present near system
After Installation — Required Photos | Home Layout
Free template from fieldpix.org. FieldPix can write this for you from a walkthrough on site.