## Home inspection checklist
Property / address
Inspector
Date
Client
Section | Check | Result | Notes | Photo #
General | Front of home
General | Property type
General | Year built
General | Occupied at time of inspection?
General | Weather
General | People present
Exterior & grounds | Grading slopes away from the foundation?
Exterior & grounds | Driveway and walkways
Exterior & grounds | Siding and exterior walls
Exterior & grounds | Exterior walls
Exterior & grounds | Decks, porches and steps secure?
Exterior & grounds | Railings secure?
Exterior & grounds | Exterior windows and doors
Exterior & grounds | Trees and plants clear of the house?
Exterior & grounds | Exterior notes
Roof | Roof covering
Roof | Roof covering condition
Roof | Approximate roof age
Roof | Flashing condition
Roof | Gutters and downspouts working?
Roof | Chimney condition
Roof | Signs of leaks?
Roof | Roof
Foundation & structure | Foundation type
Foundation & structure | Visible cracks?
Foundation & structure | Signs of water intrusion?
Foundation & structure | Framing and structure
Foundation & structure | Foundation
Electrical | Service size
Electrical | Main panel
Electrical | Panel brand and type
Electrical | Double-tapped breakers?
Electrical | GFCI protection in wet areas?
Electrical | Smoke detectors present and working?
Electrical | Carbon monoxide detectors present?
Electrical | Electrical overall
Plumbing | Water supply
Plumbing | Supply piping
Plumbing | Water pressure
Plumbing | Visible leaks?
Plumbing | Drains flow freely?
Plumbing | Water heater type
Plumbing | Water heater age
Plumbing | Relief valve and discharge pipe present?
Plumbing | Water heater
Heating & cooling | Heating system
Heating & cooling | Heating works?
Heating & cooling | Cooling system
Heating & cooling | Cooling works?
Heating & cooling | Filter condition
Heating & cooling | Approximate system age
Heating & cooling | Heating and cooling equipment
Interior | Walls and ceilings
Interior | Floors
Interior | Windows open, close and lock?
Interior | Doors open and close?
Interior | Stairs and handrails secure?
Interior | Signs of moisture or staining?
Interior | Interior notes
Kitchen & bathrooms | Range and oven work?
Kitchen & bathrooms | Dishwasher works?
Kitchen & bathrooms | Refrigerator works?
Kitchen & bathrooms | Disposal works?
Kitchen & bathrooms | Cabinets and counters
Kitchen & bathrooms | Bathroom fixtures work without leaks?
Kitchen & bathrooms | Toilets secure?
Kitchen & bathrooms | Bathroom exhaust fans work?
Kitchen & bathrooms | Kitchen
Attic & insulation | Insulation
Attic & insulation | Insulation depth
Attic & insulation | Ventilation adequate?
Attic & insulation | Signs of pests?
Attic & insulation | Attic
Summary | Overall condition
Summary | Major defects
Summary | Safety concerns
Summary | Recommended repairs
Free template from fieldpix.org. FieldPix can write this for you from a walkthrough on site.