FIELDPIX
Solar installation photos
fieldpix.org/guides/solar-installation-photo-checklist
Job / address: ______________________________
Installer: ______________________________
Date: ______________________________
System size: ______________________________
Before work
	Check
	Shot
	Notes
	Photo #

	Front of the house with the house number
	☐ Shot
	
	

	Entire roof before work
	☐ Shot
	
	

	Roof condition close-up
	☐ Shot
	
	

	Existing damage to the roof or property
	☐ Shot
	
	


Attachments and racking
	Check
	Shot
	Notes
	Photo #

	Each attachment point, at each step
	☐ Shot
	
	

	Racking on each array (arrays numbered)
	☐ Shot
	
	

	Grounding and bonding path
	☐ Shot
	
	

	End and mid clamps fully engaged
	☐ Shot
	
	

	Wire management under each row
	☐ Shot
	
	


Finished array
	Check
	Shot
	Notes
	Photo #

	Pull-back shot of each array
	☐ Shot
	
	

	Pitch and azimuth with the tool in frame
	☐ Shot
	
	

	Panel height above the roof
	☐ Shot
	
	

	Fire setbacks and pathways
	☐ Shot
	
	

	Roof conduit on standoffs and its flashing
	☐ Shot
	
	


Labels and serials
	Check
	Shot
	Notes
	Photo #

	Module label
	☐ Shot
	
	

	Optimizer, microinverter or RSD label and serial
	☐ Shot
	
	

	Device map or stringing map
	☐ Shot
	
	

	Inverter or gateway serial number
	☐ Shot
	
	


Electrical
	Check
	Shot
	Notes
	Photo #

	Junction boxes, open and closed, with labels
	☐ Shot
	
	

	Exterior conduit runs and sealed penetrations
	☐ Shot
	
	

	AC disconnect, inside and out, labels and fuse size
	☐ Shot
	
	

	Main service panel, inside and out, with labels
	☐ Shot
	
	

	Utility meter with labels
	☐ Shot
	
	

	Ground rod and water main bond
	☐ Shot
	
	

	Pull-back of all electrical equipment
	☐ Shot
	
	


Battery (if any)
	Check
	Shot
	Notes
	Photo #

	Battery and gateway serials, wiring and labels
	☐ Shot
	
	

	Working area cleared
	☐ Shot
	
	


Commissioning
	Check
	Shot
	Notes
	Photo #

	String voltage or monitoring screen, all devices producing
	☐ Shot
	
	

	Grid profile or utility setting
	☐ Shot
	
	

	System running
	☐ Shot
	
	


Site and safety
	Check
	Shot
	Notes
	Photo #

	Ladder tied off, 3 feet above the edge
	☐ Shot
	
	

	Site cleaned up
	☐ Shot
	
	


Free template from fieldpix.org. FieldPix can write this for you from a walkthrough on site.




