FIELDPIX

# Solar installation photos

fieldpix.org/guides/solar-installation-photo-checklist

Job / address: ______________________________

Installer: ______________________________

Date: ______________________________

System size: ______________________________

## Before work

| Check | Shot | Notes | Photo # |
| --- | --- | --- | --- |
| Front of the house with the house number | ☐ Shot |  |  |
| Entire roof before work | ☐ Shot |  |  |
| Roof condition close-up | ☐ Shot |  |  |
| Existing damage to the roof or property | ☐ Shot |  |  |

## Attachments and racking

| Check | Shot | Notes | Photo # |
| --- | --- | --- | --- |
| Each attachment point, at each step | ☐ Shot |  |  |
| Racking on each array (arrays numbered) | ☐ Shot |  |  |
| Grounding and bonding path | ☐ Shot |  |  |
| End and mid clamps fully engaged | ☐ Shot |  |  |
| Wire management under each row | ☐ Shot |  |  |

## Finished array

| Check | Shot | Notes | Photo # |
| --- | --- | --- | --- |
| Pull-back shot of each array | ☐ Shot |  |  |
| Pitch and azimuth with the tool in frame | ☐ Shot |  |  |
| Panel height above the roof | ☐ Shot |  |  |
| Fire setbacks and pathways | ☐ Shot |  |  |
| Roof conduit on standoffs and its flashing | ☐ Shot |  |  |

## Labels and serials

| Check | Shot | Notes | Photo # |
| --- | --- | --- | --- |
| Module label | ☐ Shot |  |  |
| Optimizer, microinverter or RSD label and serial | ☐ Shot |  |  |
| Device map or stringing map | ☐ Shot |  |  |
| Inverter or gateway serial number | ☐ Shot |  |  |

## Electrical

| Check | Shot | Notes | Photo # |
| --- | --- | --- | --- |
| Junction boxes, open and closed, with labels | ☐ Shot |  |  |
| Exterior conduit runs and sealed penetrations | ☐ Shot |  |  |
| AC disconnect, inside and out, labels and fuse size | ☐ Shot |  |  |
| Main service panel, inside and out, with labels | ☐ Shot |  |  |
| Utility meter with labels | ☐ Shot |  |  |
| Ground rod and water main bond | ☐ Shot |  |  |
| Pull-back of all electrical equipment | ☐ Shot |  |  |

## Battery (if any)

| Check | Shot | Notes | Photo # |
| --- | --- | --- | --- |
| Battery and gateway serials, wiring and labels | ☐ Shot |  |  |
| Working area cleared | ☐ Shot |  |  |

## Commissioning

| Check | Shot | Notes | Photo # |
| --- | --- | --- | --- |
| String voltage or monitoring screen, all devices producing | ☐ Shot |  |  |
| Grid profile or utility setting | ☐ Shot |  |  |
| System running | ☐ Shot |  |  |

## Site and safety

| Check | Shot | Notes | Photo # |
| --- | --- | --- | --- |
| Ladder tied off, 3 feet above the edge | ☐ Shot |  |  |
| Site cleaned up | ☐ Shot |  |  |

Free template from fieldpix.org. FieldPix can write this for you from a walkthrough on site.