FIELDPIX

# Solar site survey: detailed

fieldpix.org/guides/solar-site-survey-checklist

Job / address: ______________________________

Surveyor: ______________________________

Date: ______________________________

Homeowner: ______________________________

## Site

| Check | Answer | Notes | Photo # |
| --- | --- | --- | --- |
| Front of the home with the house number |  |  |  |
| All sides of the home |  |  |  |
| Driveway and material drop-off spot |  |  |  |
| Existing exterior damage to the property |  |  |  |
| Tree trimming needed? |  |  |  |
| Homeowner notes |  |  |  |

## Roof

| Check | Answer | Notes | Photo # |
| --- | --- | --- | --- |
| Roof covering (material) |  |  |  |
| Approximate roof age |  |  |  |
| Layers |  |  |  |
| Roof condition |  |  |  |
| Each roof plane, wide |  |  |  |
| Pitch of each plane |  |  |  |
| Azimuth of each plane |  |  |  |
| Vents, skylights or obstructions in the array area? |  |  |  |
| Room for fire setbacks and pathways? |  |  |  |

## Attic and structure

| Check | Answer | Notes | Photo # |
| --- | --- | --- | --- |
| Attic access |  |  |  |
| Rafters or trusses |  |  |  |
| Rafter or truss size |  |  |  |
| Rafter or truss spacing |  |  |  |
| Decking condition |  |  |  |
| Signs of leaks or water damage? |  |  |  |

## Shading

| Check | Answer | Notes | Photo # |
| --- | --- | --- | --- |
| Horizon photo from each roof plane |  |  |  |
| Trees or buildings that shade the roof? |  |  |  |
| Shade notes |  |  |  |

## Electrical

| Check | Answer | Notes | Photo # |
| --- | --- | --- | --- |
| Utility meter, close up and step back |  |  |  |
| Meter number |  |  |  |
| Main service panel location |  |  |  |
| Main panel, door closed and door open |  |  |  |
| Panel make and model |  |  |  |
| Busbar rating |  |  |  |
| Main breaker size |  |  |  |
| Service size |  |  |  |
| Open breaker spaces |  |  |  |
| Close-ups of all breakers |  |  |  |
| Service wire condition |  |  |  |
| Grounding electrode or ground rod |  |  |  |
| Possible inverter and battery locations |  |  |  |
| Conduit route from the array to the panel |  |  |  |

## Wrap-up

| Check | Answer | Notes | Photo # |
| --- | --- | --- | --- |
| Homeowner questions |  |  |  |
| Next steps |  |  |  |

Free template from fieldpix.org. FieldPix can write this for you from a walkthrough on site.